## Table 1
Table 1: Recent performance on progress metrics, last 5 years
| # | Progress metric name | Annual performance |  |  |  |  | Unit(s) | Comments
|  |  | 2015 | 2016 | 2017 | 2018 | 2019
| 1 | Extreme weather prediction accuracy | 0 | 0 | 0 | 0 | 0 | Percentage of total PSPS predictions that are false positives (where the utility’s situational awareness indicates that the upcoming risk level will exceed the threshold for PSPS, but it eventually does not do so) or false negatives (where the utility’s situational awareness indicates that the upcoming risk level will not exceed the threshold for PSPS, but it eventually does do so) 2 days before a potential PSPS event | BVES has not had any false positive or false negative PSPS predictions.
| 2 | Equipment operating load above nameplate capacity | 0 | 0 | 0 | 0 | 0 | Number of circuit hours operated above nameplate capacity in HFTD areas | The utility does not have record of any equipment above nameplate capacity.
|  |  | 0 | 0 | 0 | 0 | 0 | Average % above nameplate capacity when equipment operated above nameplate capacity in HFTD areas
| 3 | Risk-spend efficiency of resources deployed towards wildfire mitigation efforts | N/A | N/A | N/A | N/A | N/A | Dollars per incremental life saved | BVES does not calculate risk-spend efficiency according to the metrics provided. The utility has a comprehensive Risk Register which uses a proprietary model to determine the Risk Benefit and risk-spend efficiency of each initiative. See Table 2 Metrics 1a. and 1b.
|  |  | N/A | N/A | N/A | N/A | N/A | Dollars invested per estimated dollars of rebuilt structures avoided
|  |  | N/A | N/A | N/A | N/A | N/A | Dollars per customer hour of PSPS avoided
| 4 | Extent of hardening across grid | 0 | 0 | 0 | 0 | 0.377% | Percent of all grid assets in HFTD areas using proven and demonstrated wildfire-resistant equipment | BVES implemented .52 mile of covered wire in 2019
| 5 | Community engagement activity and effectiveness | N/A | N/A | N/A | N/A | N/A | Percent of residents made aware of PSPS and emergency response procedures in advance of events, according to post-event surveys | No post-event surveys have been surveyed.
|  |  | 100% | 100% | 100% | 100% | 100% | Percent of residents agreeing to participate in utility wildfire risk-reduction activities (e.g., allowing access to property for utility hazard tree remediation) | No customers have prevented BVES from conducting necessary wildfire risk-reduction activities.
| 6 | Emergency planning and preparedness | 0 | 0 | 0 | 0 | 0 | Number of emergency response deficiencies reported by Cal OES, suppression agencies, and other emergency response personnel when plans tested or activated

## Table 2
Table 2: Recent performance on outcome metrics, last 5 years
| Metric type | # | Outcome metric name | Annual performance |  |  |  |  | Unit(s) | Comments
|  | # |  | 2015 | 2016 | 2017 | 2018 | 2019
| 1. Risk spend efficiency of WMP programs | 1.a. | Average risk spend efficiency of all WMP programs being undertaken by utility | N/A | N/A | N/A | N/A | 2.17 | Incremental cost per grid-wide 1% reduction in utility ignition risk in HFTD areas | BVES does not calculate risk-spend efficiency according to the metrics provided. The utility has a comprehensive Risk Register which uses a proprietary model to determine the Risk Benefit and risk-spend efficiency of each initiative.
|  | 1.b. | Average risk spend efficiency of wildfire-only WMP programs being undertaken by utility | N/A | N/A | N/A | N/A | 2.47 | Incremental cost per grid-wide 1% reduction in utility ignition risk in HFTD areas | BVES does not calculate risk-spend efficiency according to the metrics provided. The utility has a comprehensive Risk Register which uses a proprietary model to determine the Risk Benefit and risk-spend efficiency of each initiative.
| 2. Customer hours of PSPS based on stress test conditions | 2.a. | Percent of customers experiencing PSPS given 95th percentile fire weather conditions along entire grid using utility PSPS decision protocols | 0% | 0% | 0% | 0% | 0% | Percent of all customers
|  | 2.b. | Percent of customers experiencing PSPS given 99th percentile fire weather conditions along entire grid using utility PSPS decision protocols | 0% | 0% | 0% | 0% | 0% | Percent of all customers
| 3. Electricity cost to ratepayers | 3.a. | Increase in electric costs to ratepayer due to wildfires (total) | 0 | 0 | 0 | 0 | 0 | Dollar value rates increase attributable to wildfires per year | BVES has not had any wildfires in its service territory
|  | 3.b. | Increase in electric costs to ratepayer due to wildfires (normalized) | 0 | 0 | 0 | 0 | 0 | Dollar value rates increase attributable to wildfires per RFW circuit mile per year
|  | 3.c. | Increase in electric costs to ratepayer due to wildfire mitigation activities (total) | N/A | N/A | N/A | N/A | N/A | Dollar value rates increase attributable to WMPs per year | BVES has not booked its wildfire mitigation costs into rates other than certain related capital projects that are part of its General Rate Case.
| 4. Actual renewable energy procurement | 4.a. | Electricity procured from renewable sources | 23% | 25% | 34% | 32% | 32% | Percentage of total electricity procured per year | BVES buys its electricity from unspecified power sources defined as: "any purchase not traceable to specific generation sources by any auditable contract trail or equivalent, or to power purchases from a transaction that expressly transferred energy only and not the RECs associated from an RPS-eligible facility." BVES also utilizes RECs to meet its RPS obligation.
| 5. Impact of utility ignitions based on ignition simulation | 5.a. | Potential impact of ignitions (total) | N/A | N/A | N/A | N/A | N/A | Number of people residing in evacuation zones of wildfires simulated for each ignition per year, based on in-house or contractors’ fire spread models | BVES has not ran a simulation nor used an in-house contractor for fire models.
|  | 5.b. | Potential impact of ignitions (normalized) | N/A | N/A | N/A | N/A | N/A | Number of people residing in evacuation zones of wildfires simulated for each ignition per RFW circuit mile day per year | BVES has not ran a simulation nor used an in-house contractor for fire models.
|  | 5.c. | Potential impact of ignitions in HFTD (subtotal) | N/A | N/A | N/A | N/A | N/A | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD per year | BVES has not ran a simulation nor used an in-house contractor for fire models.
|  | 5.c.i. | Potential impact of ignitions in HFTD Zone 1 | N/A | N/A | N/A | N/A | N/A | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Zone 1 per year | BVES has not ran a simulation nor used an in-house contractor for fire models.
|  | 5.c.ii. | Potential impact of ignitions in HFTD Tier 2 | N/A | N/A | N/A | N/A | N/A | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Tier 2 per year | BVES has not ran a simulation nor used an in-house contractor for fire models.
|  | 5.c.iii. | Potential impact of ignitions in HFTD Tier 3 | N/A | N/A | N/A | N/A | N/A | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Tier 3 per year | BVES has not ran a simulation nor used an in-house contractor for fire models.
|  | 5.d. | Potential impact of ignitions in HFTD (subtotal, normalized) | N/A | N/A | N/A | N/A | N/A | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD per RFW circuit mile day per year | BVES has not ran a simulation nor used an in-house contractor for fire models.
|  | 5.d.i. | Potential impact of ignitions in HFTD Zone 1 (normalized) | N/A | N/A | N/A | N/A | N/A | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Zone 1 per RFW circuit mile day per year | BVES has not ran a simulation nor used an in-house contractor for fire models.
|  | 5.d.ii. | Potential impact of ignitions in HFTD Tier 2 (normalized) | N/A | N/A | N/A | N/A | N/A | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Tier 2 per RFW circuit mile day per year | BVES has not ran a simulation nor used an in-house contractor for fire models.
|  | 5.d.iii. | Potential impact of ignitions in HFTD Tier 3 (normalized) | N/A | N/A | N/A | N/A | N/A | Number of people residing in evacuation zones of wildfires simulated for each ignition in HFTD Tier 3 per RFW circuit mile day per year | BVES has not ran a simulation nor used an in-house contractor for fire models.
|  | 5.e. | Potential impact of ignitions in non-HFTD (subtotal) | N/A | N/A | N/A | N/A | N/A | Number of people residing in evacuation zones of wildfires simulated for each ignition in non-HFTD per year | BVES has not ran a simulation nor used an in-house contractor for fire models.
|  | 5.f. | Potential impact of ignitions in non-HFTD (normalized) | N/A | N/A | N/A | N/A | N/A | Number of people residing in evacuation zones of wildfires simulated for each ignition in non-HFTD per RFW circuit mile day per year | BVES has not ran a simulation nor used an in-house contractor for fire models.
| 6. Public impacted by utility-ignited wildfire evacuation | 6.a. | Number of people residing in evacuation zone of utility-ignited wildfire (total) | 0 | 0 | 0 | 0 | 0 | Number of people in evacuation zones of utility ignited wildfire | BVES has not had any utility-ignited wildfires
|  | 6.b. | Number of people residing in evacuation zone of utility-ignited wildfire (normalized) | 0 | 0 | 0 | 0 | 0 | Number of people per RFW circuit mile day per year | BVES has not had any utility-ignited wildfires
|  | 6.c. | Impact of evacuations for utility-ignited wildfire (total) | N/A | N/A | N/A | N/A | N/A | Person-hours per year | BVES has not had any utility-ignited wildfires
|  | 6.d. | Impact of evacuations for utility-ignited wildfire (normalized) | N/A | N/A | N/A | N/A | N/A | Person-hours per RFW circuit mile day per year | BVES has not had any utility-ignited wildfires
| 7. Estimated GHG emissions from utility- ignited wildfire | 7.a. | GHG emissions from utility- ignited wildfires (total) | N/A | N/A | N/A | N/A | N/A | Estimated tons of carbon dioxide equivalent emitted per year | BVES has not had any utility-ignited wildfires
|  | 7.b. | GHG emissions from utility- ignited wildfires (normalized) | N/A | N/A | N/A | N/A | N/A | Estimated tons of carbon dioxide equivalent emitted per RFW circuit mile day per year | BVES has not had any utility-ignited wildfires
| 8. Transportation impacted by PSPS | 8.a. | Critical transportation infrastructure impacted due to PSPS | N/A | N/A | N/A | N/A | N/A | Driver and rider-hours lost (in ridership per hour multiplied by incremental increase in commute time by hours closed) per year | BVES has not initiated any PSPS events
|  | 8.b. | Major roads impacted due to PSPS (normalized) | N/A | N/A | N/A | N/A | N/A | Driver and rider-hours lost (in ridership per hour multiplied by incremental increase in commute time by hours closed) per RFW circuit mile day per year | BVES has not initiated any PSPS events

## Table 3
Table 3: Annual evacuations for utility-ignited wildfire, last 5 years
| Year | Total days evacuation order in effect | Number of people residing in evacuation zones | Evacuation actuals (total number of people)
| 2015 | 0 | 0 | 0
| 2016 | 0 | 0 | 0
| 2017 | 0 | 0 | 0
| 2018 | 0 | 0 | 0
| 2019 | 0 | 0 | 0

## Table 4
Table 4: Spreadsheet columns for lists of events, last 5 years
| Column groups | Columns
| Identifying information | Type of event
Date
Time
| Location information | Latitude
Longitude
Circuit name
Land use (rural / urban)
Enhanced inspections and maintenance conducted according to 2019 WMP at location prior to event (Yes / No)
Enhanced vegetation management conducted according to 2019 WMP at location prior to event (Yes / No)
| Utility facility information | Type of equipment involved
Facility identification
Voltage
Age of involved equipment
Overhead or underground
Covered conductor or other
Other companies’ equipment involved (or N/A)
| Situational awareness information | Local temperature at time of event
Local wind speed at time of event
Nearest weather station by weather station ID
Last inspection data of involved equipment
Time-to-expected failure of involved equipment on date of incident (in number of days until the involved equipment was expected to fail)
Overcapacity history of involved equipment (percent of time equipment operated over nameplate capacity)
Note: BVES is unable to provide this data with the current submission.

## Table 5
Table 5: Spreadsheet columns for information reported by circuit, last 5 years and historical average
|  | Service Territory Location | Fire weather, last 5 years and historical average | [17 empty] | Number and impact of PSPS de- energizations, last 5 years and historical average | [29 empty] | Recent overcapacity, last 5 years and historical average | [11 empty] | Extreme weather near circuit
| Circuit ID | HFTD Rating | Number of RFW days | [5 empty] | Average annual proprietary fire potential index measure | [5 empty] | Highest proprietary fire potential index of the year | [5 empty] | Number of PSPS de-energizations | [5 empty] | Number of customers located on de-energized circuit | [5 empty] | Number of affected customers on other circuits | [5 empty] | Customer hours of PSPS | [5 empty] | Customer hours of PSPS per RFW circuit mile day | [5 empty] | Hours operated above nameplate capacity | [5 empty] | Average load as a percent of nameplate capacity for the hours operated above nameplate capacity | [5 empty] | 95th percentile wind conditions (average of all weather stations within 10 miles of a circuit) | [5 empty] | 99th percentile wind conditions (average of all weather stations within 10 miles of a circuit)
|  |  | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average | 2015 | 2016 | 2017 | 2018 | 2019 | Average
| N/A | 2, 3 | 2.917 | 14.167 | 15.708 | 10.583 | 6.333 | 9.9417 | Y | Y | Y | Y | Y | Y | R | R | O | O | O | O | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 39 | 41 | 33 | 71 | 42.2 | 9 | 11 | 11 | 8 | 31 | 14
Note: The entirety of the utility's service territory is in HFTD Zone 2 with the exception of 1.27 miles of the Radford 34.5 kV line which are HFTD Zone 3. The data above apply to all of the circuits within the utility's service territory.
BVES has not initiated any PSPS events.
The utility's weather consultant collects and reports data using the NFDRS and RFW systems for the utility's entire service territory as opposed to on a circuit-by-circuit basis; when a Red Flag Warning is issued for the San Bernardino Mountains, - including Big Bear Valley, which encompasses the entirey of BVES' service territory - the Warning applies to 100% of BVES' service territory, which is just 32 square miles.
"Extreme weather near circuit" was interpreted as the number of days per year that wind conditions fell within the 95th or 99th percentile, respectively. The utility is unable to provide 95th/99th percentile wind speeds or direction on an annual basis at this time.

## Table 7
Table 7: Map file requirements for recent and modelled conditions of utility service territory, last 5 years
| Layer name | Measurements | Units | Attachment Location
| Recent weather patterns | Average annual number of fire risk ratings equal to the top 30% of proprietary fire potential index or similar fire risk index measure | Area, days, square mile resolution | N/A
|  | Difference between forecast and actual wind when either is projected to be or is at 95th percentile wind conditions | Area, miles per hour, at a square mile resolution or better, noting where measurements are actual or interpolated
| Recent fuel measurements | Average distribution and mass of fuel | Area, tons per square mile, square mile resolution, one layer for each month | N/A
|  | Average distribution and mass of fuel below 62% live fuel moisture content each month | Area, tons per square mile, square mile resolution, one layer for each month
|  | Average distribution and mass of fuel below 5% live fuel moisture content | Area, tons per square mile, square mile resolution, one layer for each month
| Potential impact of ignitions | Date of recent ignitions and potential impact measured in number of people in evacuation zone of modeled fire spread | Point, GPS coordinate, days, number of people, square mile resolution | N/A
| Implemented 2019 WMP initiative activity | Location of completed 2019 WMP initiative activity for each activity | Line, quarter mile resolution, one layer per initiative | N/A
Note: BVES is unable to provide the data requested in a downloadable GIS shapefile format at this time.

## Table 8
Table 8: Map file requirements for baseline condition of utility service territory projected for 2020
| Layer name | Measurements / variables | Units | Appendix location
| Current baseline risk maps | Ignition probability per year given 5-year historical average conditions | Line, quarter mile resolution | N/A
|  | Wildfire consequence to communities | Area, number of people affected, square mile resolution
| Result of stress test as defined in Section 2 | Duration of PSPS events and area of the grid affected in customer hours per year | Area, customer hours, square mile resolution | N/A
|  | Number of ignitions and near misses | Line, circuit mile resolution
Note: BVES is unable to provide the data requested in a downloadable GIS shapefile format at this time.

## Table 9
Table 9: Fuel density and moisture, last 5 years
| Fuel measurement | 2015 | 2016 | 2017 | 2018 | 2019 | 5-year historical average | Unit(s) | Comments
| Live fuel moisture content | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Dead fuel moisture content | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Live fuel density | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Dead fuel density | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Other | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Note: BVES uses a contracted meteorologist that integrates data from the NFDRS, National Weather Service, and local real-time data from BVES' distributed weather stations (to account for local micro-climates) to ultimately assess relative local fire danger and risk. Reports are given weekly normally, and more often -- up to several times a day -- during heightened threat conditions. Operations personnel and leadership receive automated real-time alerts from BVES' weather stations when local winds exceed thresholds.
The utility is unable to report fuel density and moisture data at this time. The utility's contracted meteorologist incorporates fuel conditions when developing relative local fire danger and risk using the NFDRS.

## Table 10
Table 10: Directional vision for evolution of risk drivers
| Rank order 1-15 | Incident type by ignition probability driver | Detailed risk driver | Change in risk impact by end-2022 | Change in risk impact by year 10 | Comments
| 2 | Contact from object | All types of object contact | Moderately Decrease Risk | Significantly Decrease Risk | Significant due to aggregation of below efforts.
| 9 |  | Animal contact | Significantly Decrease Risk | Moderately Decrease Risk | Installing raptor protection.
| 15 |  | Balloon contact | Moderately Decrease Risk | Moderately Decrease Risk | Installing covered conductor.
| 1 |  | Vegetation contact | Moderately Decrease Risk | Moderately Decrease Risk | Installing raptor protection.
| 11 |  | Vehicle contact | Moderately Decrease Risk | Moderately Decrease Risk | Installing covered conductor.
| 3 | Equipment / facility failure | All types | Moderately Decrease Risk | Significantly Decrease Risk | Installing raptor protection.
| 13 |  | Capacitor bank failure | Limited or no impact | Limited or no impact | Installing covered conductor.
| 4 |  | Conductor failure—all | Moderately Decrease Risk | Moderately Decrease Risk | BVES higher standard for clearance.
| 5 |  | Conductor failure—wires down | Moderately Decrease Risk | Moderately Decrease Risk | BVES hardening evacuation routes.
| 6 |  | Fuse failure—all | Moderately Decrease Risk | Moderately Decrease Risk | Aggregation of each below
| 7 |  | Fuse failure— conventional blown fuse | Limited or no impact | Limited or no impact | BVES only has 25 capacitor banks in entire service area.
| 10 |  | Lightning arrestor failure | Moderately Decrease Risk | Moderately Decrease Risk | Covered wire installation.
| 14 |  | Switch failure | Moderately Decrease Risk | Significantly Decrease Risk | Installing covered conductor.
| 12 |  | Transformer failure | Significantly Decrease Risk | Limited or no impact | 10-year is “Limited or no impact” since fuse replacement expected to complete before that.
| 8 | Wire-to-wire contact / contamination |  | Significantly Decrease Risk | Limited or no impact | 10-year is “Limited or no impact” since fuse replacement expected to complete before that.
| N/A | Other |  | Moderately Decrease Risk | Moderately Decrease Risk | Upgrading Lightning arrestors.

## Table 11
Table 11: Stress test estimate of PSPS required to manage wildfire ignition probability of current baseline system
| PSPS characteristic | 95th percentile wind conditions | 99th percentile wind conditions | Unit(s)
| Frequency of PSPS events (total) | N/A | N/A | Number of instances where utility operating protocol requires de-energization of a circuit or portion thereof in order to reduce ignition probability, per year
| Scope of PSPS events (total) | N/A | N/A | Circuit-events, measured in number of events multiplied by number of circuits targeted for de-energization per year
| Duration of PSPS events (total) | N/A | N/A | Customer hours per year
| Other | N/A | N/A | N/A
Note: BVES is unable to provide this data with the current submission. The utility has not had use for PSPS does not foresee the need for PSPS events in the future.

## Table 12
Table 12: Stress test modelled ignitions and near misses assuming 95th and 99th percentile conditions over the 3-year plan term
| Stress test output | 95th Observed | 95th Expectation |  |  | 99th Observed | 99th Expectation |  |  | Unit(s) | Comments
|  | 2019 | 2020 | 2021 | 2022 | 2019 | 2020 | 2021 | 2022
| Number of ignitions (total) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Number of ignitions
| Number of near misses (total) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Number of near misses
Note: BVES is unable to provide this data with the current submission.

## Table 13
Table 13: Stress test modelled use of PSPS assuming 95th and 99th percentile conditions over the 3-year plan term
| PSPS characteristics | 95th Observed | 95th Expectation |  |  | 99th Observed | 99th Expectation |  |  | Unit(s) | Comments
[6 empty] | Observed | Expectation
|  | 2019 | 2020 | 2021 | 2022 | 2019 | 2020 | 2021 | 2022
| Frequency of PSPS events (total) | 0 | N/A | N/A | N/A | 0 | N/A | N/A | N/A | Number of instances where utility operating protocol requires de-energization of a circuit or portion thereof in order to reduce ignition probability, per year | BVES has not had any use of PSPS
| Scope of PSPS events (total) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Circuit-events, measured in number of events multiplied by number of circuits targeted for de-energization per year | BVES has not had any use of PSPS
| Duration of PSPS events (total) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Customer hours per year | BVES has not had any use of PSPS
| Other | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | BVES has not had any use of PSPS
Note: BVES is unable to provide this data with the current submission. The utility has not had use for PSPS does not foresee the need for PSPS events in the future.