## Table 1-1
Total Customers |  |  | MBL Customers | Number of Counties | Number of Tribes | Number of Circuits |  |  | Damage/Hazard Count | Critical Facilites and Infrastructure
PSPS Notified | De-energized | Cancelled | De-energized | De-energized | De-energized | Transmission De-energized | Distribution Circuits in Scope | Distribution Circuits de-energized |  | De-energized
25275 | 25275 | 0 | 187 | 1 | N/A | N/A | 0 | 26 | 0 | 21

## Table 3-1
Circuit | County | Deenergization Date | Deenergization Time | Restoration Date | Restoration Time | All Clear Date/Time | HFTD Class | Total Customers Deenergized | Residential Customers Deenergized | Commercial/Industrial Customers Deenergized | Medical Baseline (MBL) Customers Deenergized | AFN other than MBL customers deenergized | Other Customers | Circuit Classification
Baldwin | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 11:31 | 2026-06-28 08:23 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | Subtransmission
Shay | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 11:31 | 2026-06-28 08:23 | 2 | *Shay is a sub-transmission line which does not directly feed any customers | N/A | N/A | N/A | N/A | N/A | Subtransmission
Georgia | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 4:46 | 2026-06-28 08:23 | 2 | 959 | 741 | 218 | 2 | 39 | 0 | Distribution
Eagle | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 4:46 | 2026-06-28 08:23 | 2 | 1876 | 1761 | 115 | 4 | 24 | 0 | Distribution
Garstin | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 4:27 | 2026-06-28 08:23 | 2 | 203 | 121 | 82 | 1 | 22 | 0 | Distribution
Foxfarm | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 4:27 | 2026-06-28 08:23 | 2 | 33 | 3 | 30 | 0 | 0 | 0 | Distribution
Interlaken | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 4:27 | 2026-06-28 08:23 | 2 | 907 | 812 | 95 | 23 | 20 | 0 | Distribution
Goldmine | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 7:14 | 2026-06-28 08:23 | 2 | 2079 | 2055 | 24 | 8 | 45 | 0 | Distribution
Clubview | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 7:38 | 2026-06-28 08:23 | 2 | 1743 | 1726 | 17 | 4 | 38 | 0 | Distribution
NorthShore | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 7:16 | 2026-06-28 08:23 | 2 | 1558 | 1441 | 117 | 8 | 45 | 0 | Distribution
CountryClub | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 7:21 | 2026-06-28 08:23 | 2 | 620 | 562 | 58 | 2 | 27 | 0 | Distribution
CastleGlen | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 6:39 | 2026-06-28 08:23 | 2 | 1234 | 1185 | 49 | 10 | 51 | 0 | Distribution
Holcomb | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 6:35 | 2026-06-28 08:23 | 2 | 1615 | 1603 | 12 | 23 | 107 | 0 | Distribution
Paradise | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 5:48 | 2026-06-28 08:23 | 2 | 1915 | 1827 | 88 | 17 | 128 | 0 | Distribution
Erwin | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 6:16 | 2026-06-28 08:23 | 2 | 2636 | 2597 | 39 | 39 | 237 | N/A | Distribution
Sunrise | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 5:57 | 2026-06-28 08:23 | 2 | 1810 | 1787 | 23 | 15 | 134 | 0 | Distribution
Sunset | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 7:32 | 2026-06-28 08:23 | 2 | 1949 | 1930 | 19 | 8 | 125 | 0 | Distribution
Pioneer | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 5:38 | 2026-06-28 08:23 | 2 | 559 | 544 | 15 | 8 | 52 | 0 | Distribution
PumpHouse | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 11:48 | 2026-06-28 08:23 | 2 | 3 | 0 | 3 | 0 | 0 | 0 | Distribution
Geronimo | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 12:05 | 2026-06-28 08:23 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | Distribution
Skyline | San Bernardino | 2026-06-26 | 3:12 | 2026-06-26 | 12:04 | 2026-06-28 08:23 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | Distribution
Lift | San Bernardino | 2026-06-26 | 3:12 | 2026-06-28 | 10:37 | 2026-06-28 08:23 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | Distribution
Radford | San Bernardino | 2026-06-26 | 4:22 | 2026-06-26 | 4:23 | 2026-06-28 08:23 | 3 | *Radford is a sub-transmission line which does not directly feed any customers | N/A | N/A | N/A | N/A | N/A | Subtransmission
Boulder | San Bernardino | 2026-06-26 | 4:22 | 2026-06-26 | 4:28 | 2026-06-28 08:23 | 2 | 2097 | 1953 | 144 | 7 | 56 | 0 | Distribution
Lagunita | San Bernardino | 2026-06-26 | 4:22 | 2026-06-26 | 4:28 | 2026-06-28 08:23 | 2 | 1132 | 1003 | 129 | 1 | 23 | 0 | Distribution
Harnish | San Bernardino | 2026-06-26 | 4:22 | 2026-06-26 | 4:28 | 2026-06-28 08:23 | 2 | 343 | 206 | 137 | 7 | 66 | 0 | Distribution
Paradise | San Bernardino | 2026-06-26 | 11:56 | 2026-06-26 | 11:58 | 2026-06-28 08:23 | 2 | 1915 | 1827 | 88 | 17 | 128 | 0 | Distribution
Erwin | San Bernardino | 2026-06-26 | 11:56 | 2026-06-26 | 11:58 | 2026-06-28 08:23 | 2 | 2636 | 2597 | 39 | 39 | 237 | 0 | Distribution
Sunrise | San Bernardino | 2026-06-26 | 12:15 | 2026-06-26 | 12:17 | 2026-06-28 08:23 | 2 | 1810 | 1787 | 23 | 15 | 134 | 0 | Distribution
Sunset | San Bernardino | 2026-06-26 | 12:15 | 2026-06-26 | 12:17 | 2026-06-28 08:23 | 2 | 1949 | 1930 | 19 | 8 | 125 | 0 | Distribution
CountryClub | San Bernardino | 2026-06-26 | 16:38 | 2026-06-26 | 16:41 | 2026-06-28 08:23 | 2 | 620 | 562 | 58 | 2 | 27 | 0 | Distribution
Holcomb | San Bernardino | 2026-06-26 | 16:38 | 2026-06-26 | 16:41 | 2026-06-28 08:23 | 2 | 1615 | 1603 | 12 | 23 | 107 | 0 | Distribution
NorthShore | San Bernardino | 2026-06-26 | 16:39 | 2026-06-26 | 16:42 | 2026-06-28 08:23 | 2 | 1558 | 1441 | 117 | 8 | 45 | 0 | Distribution
CastleGlen | San Bernardino | 2026-06-26 | 16:39 | 2026-06-26 | 16:42 | 2026-06-28 08:23 | 2 | 1234 | 1185 | 49 | 10 | 51 | 0 | Distribution
Baldwin | San Bernardino | 2026-06-26 | 20:16 | 2026-06-27 | 14:39 | 2026-06-28 08:23 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | Subtransmission
Shay | San Bernardino | 2026-06-26 | 20:16 | 2026-06-27 | 14:39 | 2026-06-28 08:23 | 2 | *Shay is a sub-transmission line which does not directly feed any customers | N/A | N/A | N/A | N/A | N/A | Subtransmission
NorthShore | San Bernardino | 2026-06-26 | 20:16 | 2026-06-26 | 20:57 | 2026-06-28 08:23 | 2 | 1558 | 1441 | 117 | 8 | 45 | 0 | Distribution
CountryClub | San Bernardino | 2026-06-26 | 20:16 | 2026-06-26 | 22:12 | 2026-06-28 08:23 | 2 | 620 | 562 | 58 | 2 | 27 | 0 | Distribution
CastleGlen | San Bernardino | 2026-06-26 | 20:16 | 2026-06-26 | 22:14 | 2026-06-28 08:23 | 2 | 1234 | 1185 | 49 | 10 | 51 | 0 | Distribution
Holcomb | San Bernardino | 2026-06-26 | 20:16 | 2026-06-27 | 6:27 | 2026-06-28 08:23 | 2 | 1615 | 1603 | 12 | 23 | 107 | 0 | Distribution
Paradise | San Bernardino | 2026-06-26 | 20:16 | 2026-06-26 | 20:55 | 2026-06-28 08:23 | 2 | 1915 | 1827 | 88 | 17 | 128 | 0 | Distribution
Erwin | San Bernardino | 2026-06-26 | 20:16 | 2026-06-27 | 0:33 | 2026-06-28 08:23 | 2 | 2636 | 2597 | 39 | 39 | 237 | 0 | Distribution
Sunrise | San Bernardino | 2026-06-26 | 20:16 | 2026-06-26 | 21:29 | 2026-06-28 08:23 | 2 | 1810 | 1787 | 23 | 15 | 134 | 0 | Distribution
Sunset | San Bernardino | 2026-06-26 | 20:16 | 2026-06-26 | 22:46 | 2026-06-28 08:23 | 2 | 1949 | 1930 | 19 | 8 | 125 | 0 | Distribution
Pioneer | San Bernardino | 2026-06-26 | 20:16 | 2026-06-26 | 22:54 | 2026-06-28 08:23 | 2 | 559 | 544 | 15 | 8 | 52 | 0 | Distribution
Geronimo | San Bernardino | 2026-06-26 | 21:11 | 2026-06-27 | 15:32 | 2026-06-28 08:23 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | Distribution
Skyline | San Bernardino | 2026-06-26 | 21:14 | 2026-06-28 | 9:26 | 2026-06-28 08:23 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | Distribution
Sunset | San Bernardino | 2026-06-27 | 6:27 | 2026-06-27 | 10:13 | 2026-06-28 08:23 | 2 | 1949 | 1930 | 19 | 8 | 125 | 0 | Distribution
Clubview | San Bernardino | 2026-06-27 | 6:59 | 2026-06-27 | 8:19 | 2026-06-28 08:23 | 2 | 1743 | 1726 | 17 | 4 | 38 | 0 | Distribution
CountryClub | San Bernardino | 2026-06-27 | 6:59 | 2026-06-27 | 9:15 | 2026-06-28 08:23 | 2 | 620 | 562 | 58 | 2 | 27 | 0 | Distribution
Eagle | San Bernardino | 2026-06-27 | 7:44 | 2026-06-27 | 9:07 | 2026-06-28 08:23 | 2 | 1876 | 1761 | 115 | 4 | 24 | 0 | Distribution
Goldmine | San Bernardino | 2026-06-27 | 7:46 | 2026-06-27 | 10:54 | 2026-06-28 08:23 | 2 | 2079 | 2055 | 24 | 8 | 45 | 0 | Distribution
Paradise | San Bernardino | 2026-06-27 | 14:52 | 2026-06-27 | 14:56 | 2026-06-28 08:23 | 2 | 1915 | 1827 | 88 | 17 | 128 | 0 | Distribution
Erwin | San Bernardino | 2026-06-27 | 14:52 | 2026-06-27 | 14:56 | 2026-06-28 08:23 | 2 | 2636 | 2597 | 39 | 39 | 237 | 0 | Distribution
Holcomb | San Bernardino | 2026-06-27 | 14:57 | 2026-06-27 | 15:00 | 2026-06-28 08:23 | 2 | 1615 | 1603 | 12 | 23 | 107 | 0 | Distribution
NorthShore | San Bernardino | 2026-06-27 | 14:58 | 2026-06-27 | 15:03 | 2026-06-28 08:23 | 2 | 1558 | 1441 | 117 | 8 | 45 | 0 | Distribution
CountryClub | San Bernardino | 2026-06-27 | 14:58 | 2026-06-27 | 15:01 | 2026-06-28 08:23 | 2 | 620 | 562 | 58 | 2 | 27 | 0 | Distribution
CastleGlen | San Bernardino | 2026-06-27 | 14:58 | 2026-06-27 | 15:02 | 2026-06-28 08:23 | 2 | 1234 | 1185 | 49 | 10 | 51 | 0 | Distribution
Pioneer | San Bernardino | 2026-06-27 | 15:16 | 2026-06-27 | 15:19 | 2026-06-28 08:23 | 2 | 559 | 544 | 15 | 8 | 52 | 0 | Distribution
Sunrise | San Bernardino | 2026-06-27 | 15:17 | 2026-06-27 | 15:20 | 2026-06-28 08:23 | 2 | 1810 | 1787 | 23 | 15 | 134 | 0 | Distribution
Sunset | San Bernardino | 2026-06-27 | 15:18 | 2026-06-27 | 15:20 | 2026-06-28 08:23 | 2 | 1949 | 1930 | 19 | 8 | 125 | 0 | Distribution
Baldwin | San Bernardino | 2026-06-27 | 21:36 | 2026-06-28 | 8:23 | 2026-06-28 08:23 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | Subtransmission
Shay | San Bernardino | 2026-06-27 | 21:36 | 2026-06-28 | 8:23 | 2026-06-28 08:23 | 2 | *Shay is a sub-transmission line which does not directly feed any customers | N/A | N/A | N/A | N/A | N/A | Subtransmission
NorthShore | San Bernardino | 2026-06-27 | 21:36 | 2026-06-27 | 22:31 | 2026-06-28 08:23 | 2 | 1558 | 1441 | 117 | 8 | 45 | 0 | Distribution
CountryClub | San Bernardino | 2026-06-27 | 21:36 | 2026-06-27 | 22:29 | 2026-06-28 08:23 | 2 | 620 | 562 | 58 | 2 | 27 | 0 | Distribution
CastleGlen | San Bernardino | 2026-06-27 | 21:36 | 2026-06-27 | 23:14 | 2026-06-28 08:23 | 2 | 1234 | 1185 | 49 | 10 | 51 | 0 | Distribution
Holcomb | San Bernardino | 2026-06-27 | 21:36 | 2026-06-27 | 22:28 | 2026-06-28 08:23 | 2 | 1615 | 1603 | 12 | 23 | 107 | 0 | Distribution
Paradise | San Bernardino | 2026-06-27 | 21:36 | 2026-06-27 | 22:10 | 2026-06-28 08:23 | 2 | 1915 | 1827 | 88 | 17 | 128 | 0 | Distribution
Erwin | San Bernardino | 2026-06-27 | 21:36 | 2026-06-28 | 0:14 | 2026-06-28 08:23 | 2 | 2636 | 2597 | 39 | 39 | 237 | 0 | Distribution
Sunrise | San Bernardino | 2026-06-27 | 21:36 | 2026-06-27 | 22:00 | 2026-06-28 08:23 | 2 | 1810 | 1787 | 23 | 15 | 134 | 0 | Distribution
Sunset | San Bernardino | 2026-06-27 | 21:36 | 2026-06-28 | 0:37 | 2026-06-28 08:23 | 2 | 1949 | 1930 | 19 | 8 | 125 | 0 | Distribution
Pioneer | San Bernardino | 2026-06-27 | 21:36 | 2026-06-27 | 21:59 | 2026-06-28 08:23 | 2 | 559 | 544 | 15 | 8 | 52 | 0 | Distribution
Geronimo | San Bernardino | 2026-06-27 | 22:21 | 2026-06-28 | 9:21 | 2026-06-28 08:23 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | Distribution
Harnish | San Bernardino | 2026-06-27 | 22:22 | 2026-06-28 | 0:43 | 2026-06-28 08:23 | 2 | 343 | 206 | 137 | 7 | 66 | 0 | Distribution
Sunrise | San Bernardino | 2026-06-28 | 0:36 | 2026-06-28 | 3:56 | 2026-06-28 08:23 | 2 | 1810 | 1787 | 23 | 15 | 134 | 0 | Distribution
NorthShore | San Bernardino | 2026-06-28 | 0:54 | 2026-06-28 | 4:27 | 2026-06-28 08:23 | 2 | 1558 | 1441 | 117 | 8 | 45 | 0 | Distribution
Paradise | San Bernardino | 2026-06-28 | 3:53 | 2026-06-28 | 7:30 | 2026-06-28 08:23 | 2 | 1915 | 1827 | 88 | 17 | 128 | 0 | Distribution
Holcomb | San Bernardino | 2026-06-28 | 4:26 | 2026-06-28 | 7:42 | 2026-06-28 08:23 | 2 | 1615 | 1603 | 12 | 23 | 107 | 0 | Distribution
CountryClub | San Bernardino | 2026-06-28 | 7:29 | 2026-06-28 | 9:03 | 2026-06-28 08:23 | 2 | 620 | 562 | 58 | 2 | 27 | 0 | Distribution
Sunset | San Bernardino | 2026-06-28 | 7:29 | 2026-06-28 | 8:54 | 2026-06-28 08:23 | 2 | 1949 | 1930 | 19 | 8 | 125 | 0 | Distribution
Harnish | San Bernardino | 2026-06-28 | 7:40 | 2026-06-28 | 8:08 | 2026-06-28 08:23 | 2 | 343 | 206 | 137 | 7 | 66 | 0 | Distribution
Paradise | San Bernardino | 2026-06-28 | 8:47 | 2026-06-28 | 8:49 | 2026-06-28 08:23 | 2 | 1915 | 1827 | 88 | 17 | 128 | 0 | Distribution
Erwin | San Bernardino | 2026-06-28 | 8:47 | 2026-06-28 | 8:50 | 2026-06-28 08:23 | 2 | 2636 | 2597 | 39 | 39 | 237 | 0 | Distribution
Sunrise | San Bernardino | 2026-06-28 | 8:52 | 2026-06-28 | 8:54 | 2026-06-28 08:23 | 2 | 1810 | 1787 | 23 | 15 | 134 | 0 | Distribution
Holcomb | San Bernardino | 2026-06-28 | 8:59 | 2026-06-28 | 9:02 | 2026-06-28 08:23 | 2 | 1615 | 1603 | 12 | 23 | 107 | 0 | Distribution
NorthShore | San Bernardino | 2026-06-28 | 9:00 | 2026-06-28 | 9:04 | 2026-06-28 08:23 | 2 | 1558 | 1441 | 117 | 8 | 45 | 0 | Distribution
CastleGlen | San Bernardino | 2026-06-28 | 9:00 | 2026-06-28 | 9:03 | 2026-06-28 08:23 | 2 | 1234 | 1185 | 49 | 10 | 51 | 0 | Distribution
Goldmine | San Bernardino | 2026-06-28 | 9:17 | 2026-06-28 | 9:20 | 2026-06-28 08:23 | 2 | 2079 | 2055 | 24 | 8 | 45 | 0 | Distribution
Clubview | San Bernardino | 2026-06-28 | 9:18 | 2026-06-28 | 9:20 | 2026-06-28 08:23 | 2 | 1743 | 1726 | 17 | 4 | 38 | 0 | Distribution
PumpHouse | San Bernardino | 2026-06-28 | 9:59 | 2026-06-28 | 10:04 | 2026-06-28 08:23 | 2 | 3 | 0 | 3 | 0 | 0 | 0 | Distribution
Garstin | San Bernardino | 2026-06-28 | 10:00 | 2026-06-28 | 10:03 | 2026-06-28 08:23 | 2 | 203 | 121 | 82 | 1 | 22 | 0 | Distribution
Foxfarm | San Bernardino | 2026-06-28 | 10:00 | 2026-06-28 | 10:04 | 2026-06-28 08:23 | 2 | 33 | 3 | 30 | 0 | 0 | 0 | Distribution
Interlaken | San Bernardino | 2026-06-28 | 10:00 | 2026-06-28 | 10:04 | 2026-06-28 08:23 | 2 | 907 | 812 | 95 | 23 | 20 | 0 | Distribution
Georgia | San Bernardino | 2026-06-28 | 10:01 | 2026-06-28 | 10:03 | 2026-06-28 08:23 | 2 | 959 | 741 | 218 | 2 | 39 | 0 | Distribution
Eagle | San Bernardino | 2026-06-28 | 10:01 | 2026-06-28 | 10:03 | 2026-06-28 08:23 | 2 | 1876 | 1761 | 115 | 4 | 24 | 0 | Distribution

## Table 5-1
Type of Notification | Recipients | Desription
Potential PSPS Initial Notice | PSPs and CFIs (includes first responders, city officials, media, telecoms, utilities, hospitals, transportation providers) All customers | Initial notice of potential SCE PSPS event when SCE circuits first identified for potential de-energization
Imminent De-Energization | PSPs and CFIs (includes first responders, city officials, media, telecoms, utilities, hospitals, transportation providers) All customers | Power will likely be shut off
De-Energization | PSPs and CFIs (includes first responders, city officials, media, telecoms, utilities, hospitals, transportation providers) All customers | Power has been shut off (de-energization is initiated)
Re-Energization - Event Concluded | PSPs and CFIs (includes first responders, city officials, media, telecoms, utilities, hospitals, transportation providers) All customers | Inspecton/patrols of de-energized circuits for restoration has begun and power will be restored
Re-Energization - Event Concluded | PSPs and CFIs (includes first responders, city officials, media, telecoms, utilities, hospitals, transportation providers) All customers | Power has been rstored

## Table 5-2
Event Order | Notification Type | Requirement Timeline | Notifications Sent To | Date Sent | Approximate Time
Pre-De-Energization | Initial BVES Notice for SCE PSPS Event | 48 - 24 hours | PSP and CFI | 6/24/26 | 15:45
|  | 48 - 24 hours | Website | 6/24/26 | 15:50
|  | 48 - 24 hours | Facebook | 6/24/26 | 15:50
|  | 4 - 1 hours | PSP and CFI | N/A | N/A
|  | 4 - 1 hours | Website | N/A | N/A
|  | 4 - 1 hours | Facebook | N/A | N/A
| Imminent De-Energization | De-energization | PSP and CFI | 6/26/26 | N/A
|  | De-energization | Website | 6/26/26 | 4:40
|  | De-energization | Facebook | 6/26/26 | 4:40
In Event | De-Energization (Shutoff) | De-energization | Press Release | 6/26/26 | 4:40
|  | De-energization | PSP and CFI | 6/26/26 | 4:40
|  | De-energization | Website | 6/26/26 | 4:40
|  | De-energization | Facebook | 6/26/26 | 4:40
|  | De-energization/conserve energy | Facebook | 6/26/26 | 6:05
|  | De-energization/conserve energy | Website | 6/26/26 | 6:05
Restoration | Restoration (Prepare to restore) | Restoration | Website | 6/26/26 | 17:00
|  | Restoration | Facebook | 6/26/26 | 17:00
|  | Restoration | PSP and CFI | 6/26/26 | 17:00
|  | Restoration | Press Release | 6/26/26 | 17:00
Event Order | Notification Type | Requirement Timeline | Notifications Sent To | Date Sent | Approximate Time
Pre-De-Energization | Initial BVES Notice for SCE PSPS Event | 48 - 24 hours | PSP and CFI
|  | 48 - 24 hours | Website
|  | 48 - 24 hours | Facebook
|  | 4 - 1 hours | PSP and CFI | 6/27/26 | 19:00
|  | 4 - 1 hours | Website | 6/27/26 | 19:00
|  | 4 - 1 hours | Facebook | 6/27/26 | 19:00
| Imminent De-Energization | De-energization | PSP and CFI
|  | De-energization | Website
|  | De-energization | Facebook
In Event | De-Energization (Shutoff) | De-energization | Press Release | 6/27/26 | 22:00
|  | De-energization | PSP and CFI | 6/27/26 | 22:00
|  | De-energization | Website | 6/27/26 | 22:00
|  | De-energization | Facebook | 6/27/26 | 22:00
|  | De-energization | Customer Text | 6/27/26 | 23:00
|  | Restoration ETA | Facebook | 6/28/26 | 8:00
|  | Restoration ETA | Website | 6/28/26 | 8:00
Restoration | Restoration (Prepare to restore) | Restoration | Website | 6/28/26 | 9:00
|  | Restoration | Facebook | 6/28/26 | 9:00
|  | Restoration | PSP and CFI | 6/28/26 | 9:00
|  | Restoration | Press Release | 6/28/26 | 9:00

## Table 5-3
Designation | Total number of BVES customers | Number of notification attempts made | Timing of attempts | Who made the notification attempt? | Successful positive notification
Medical Baseline (MLB)/AFN in scope | 1743 | 1743 | 6/26/26 8:35 AM and 6/27/26 8:30 AM | BVES | Yes

## Table 5-4
Notifications Sent To | Notification Failure Description | Number of Entities or Customer Accounts | Explanation
Public Safety Partners excluding Critical Facilities and Infrastructure | Entities who did not receive 48-72 hour advance notification | N/A | None
| Entities who did not receive 24-48 hour advance notification | 0 | Warning was sent out on Wednesday 6/24/26 to all PSPS Partners. Warnings were posted on BVES website and Facebook
| Entities who did not receive 1-4 hour imminent notification. | N/A | BVES did not receive imminent notification from SCE
| Entities who did not receive any notifications before de-energization | 0
| Entities who were not notified at de-energization initiation | 0
| Entities who were not notified immediately before re-energization | 0
| Entities who were not notified when re-energization was completed | 0
| Entities who did not receive cancellation notification within two hours of the decision to cancel | N/A
Critical Facilities and Infrastructure | Facilities who did not receive 48-72 hour advance notification | 0
| Facilities who did not receive 24-48 hour advance notification | 0
| Facilities who did not receive 1-4 hour advance notification | 0
| Facilities who did not receive any notifications before de-energizations | 0
| Facilities who were not notified at de-energization initiation | 0
| Facilities who were not notified immediately before re-energization | 0
| Facilities who were not notified when re-energization is complete | 0
| Facilities who did not receive cancellation notification within two hours of the decision to cancel | N/A
All other affected customers | Customers who did not receive 24-48 hour advance notification | 0
| Customers who did not receive 1-4 hour advance notification | 0
| Customers who did not receive any notifications before de-energizations | 0
| Customers who were not notified at de-energization initiation | 0
| Customers who were not notified immediately before re-energization | 0
| Customers who were not notified when re-energization is complete | 0
| Customers who did not receive cancellation notification within two hours of the decision to cancel | N/A

## Table 6-1
Entity Name | Title | HFTD Tier | Date/Time Contacted
Sheriff's Department Big Bear Lake Patrol Station | Captain | Tier 3 | Refer to times on Table 5-2
Bear Valley Community Hospital | Director | Tier 3 | Refer to times on Table 5-2
Bear Valley Hospice | Admin | Tier 3 | Refer to times on Table 5-2
Big Bear Fire Department | Chief | Tier 3 | Refer to times on Table 5-2
Big Bear City | City Manager | Tier 3 | Refer to times on Table 5-2
Telcos |  | Tier 3 | Refer to times on Table 5-2
City of Big Bear lake Department of Water and Power |  | Tier 3 | Refer to times on Table 5-2
Southwest Gas | Superintendent of Operations | Tier 3 | Refer to times on Table 5-2
Big Bear City Community Services Department |  | Tier 3 | Refer to times on Table 5-2
Big Bear Municipal Water District | General Manager | Tier 3 | Refer to times on Table 5-2
Big Bear Airport | Manager | Tier 3 | Refer to times on Table 5-2
KBHR (radio) | Owner | Tier 3 | Refer to times on Table 5-2
Unified School District | Superintendent | Tier 3 | Refer to times on Table 5-2
Big Bear Mountain Resort | Vice President Mountain Operations | Tier 3 | Refer to times on Table 5-2
Big Bear Chamber of Commerce |  | Tier 3 | Refer to times on Table 5-2
Mountain Transit |  | Tier 3 | Refer to times on Table 5-2
San Bernardino OES | Duty Officer | Tier 3 | Refer to times on Table 5-2

## Table 9-1
# | County | Site Name | Address | Operating Hours | Attendance | Site Type | Amenities Provided | Communities, Time, Places, or Potential Circuits Supported
| San Bernardino County | BVES | 42020 Garstin Dr. Big Bear Lake, CA 92315 | 8am-10pm | June 26th (4) June 27th (3) | Indoor | Water Wi-Fi Ice Snacks Charging Information Restrooms Chairs First aid Kit Blankets Flashlights | N/A

## Table 9 (Section 11)
Lessons Learned from PSPS Event
Issue | Discussion | Resolution
Rolling Outages | Tracking | Improve internal processes in a cost-effective manner
Local Solar Generation | Maximize existing local solar generation | Prioritize energizing circuits during daylight with customer-owned solar generation
Minimize Loads | By minimzing loads, BVES is able to power up more circuits | Encourage customers to minimize electrical consumption, so that BVES could re-energize as many customers as possible