## Question 1
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y | Z | AA | BB | CC | DD | EE | FF | GG | HH | II | JJ | KK | LL | MM | NN | OO | PP | QQ | RR | SS | TT | UU | VV | WW | XX | YY | ZZ | AAA | BBB | CCC | DDD | EEE | FFF | GGG | HHH | III | JJJ | KKK | LLL | MMMM | NNN
Mapped to Fire Safety Circuit Matrix List | Circuit Name | Circuit ID Number | Total Circuit Miles | Circuit Miles in Non-High Fire Threat District (Non-HFTD) Areas | Circuit Miles in Other HFTD | Circuit Miles in HFTD Tier 2 | Circuit Miles in HFTD Tier 3 | Circuit Voltage | Circuit SAIDI (System Average Interruption Duration Index) for 2021 | Circuit SAIDI (System Average Interruption Duration Index) for 2022 | Circuit SAIFI (System Average Interruption Frequency Index) for 2021 | Circuit SAIFI (System Average Interruption Frequency Index) for 2022 | Circuit MAIFI (Momentary Average Interrution Frequency Index) for 2021 | Circuit MAIFI (Momentary Average Interrution Frequency Index) for 2022 | Total minutes that the circuit was de-energized due to PSPS events in 2021 (sum of minutes across all PSPS events) | Total minutes that the circuit was de-energized due to PSPS events in 2022 (sum of minutes across all PSPS events) | Total minutes that the circuit was de-energized due to fast-tip setting in 2021 | Total minutes that the circuit was de-energized due to fast-tip setting in 2022 | Miles of Covered Conductor Installed in Non-HFTD in 2021 | Miles of Covered Conductor Installed in Non-HFTD in 2022 | Miles of Covered Conductor Installed in Other HFTD in 2021 | Miles of Covered Conductor Installed in Other HFTD in 2022 | Miles of Covered Conductor Installed in HFTD Tier 2 in 2021 | Miles of Covered Conductor Installed in HFTD Tier 2 in 2022 | Miles of Covered Conductor Installed in HFTD Tier 3 in 2021 | Miles of Covered Conductor Installed in HFTD Tier 3 in 2022 | Number of Poles Replaced in Non-HFTD in 2021 | Number of Poles Replaced in Non-HFTD in 2022 | Number of Poles Replaced in Other HFTD in 2021 | Number of Poles Replaced in Other HFTD in 2022 | Number of Poles Replaced HFTD Tier 2 in 2021 | Number of Poles Replaced HFTD Tier 2 in 2022 | Number of Poles Replaced HFTD Tier 3 in 2021 | Number of Poles Replaced HFTD Tier 3 in 2022 | Miles of Underground Conductor Installation in Non-HFTD in 2021 | Miles of Underground Conductor Installation in Non-HFTD in 2022 | Miles of Underground Conductor Installation in Other HFTD in 2021 | Miles of Underground Conductor Installation in Other HFTD in 2022 | Miles of Underground Conductor Installation in HFTD Tier 2 in 2021 | Miles of Underground Conductor Installation in HFTD Tier 2 in 2022 | Miles of Underground Conductor Installation in HFTD Tier 3 in 2021 | Miles of Underground Conductor Installation in HFTD Tier 3 in 2022 | Miles of LiDAR Inspection in Non-HFTD in 2021 | Miles of LiDAR Inspection in Non-HFTD in 2022 | Miles of LiDAR Inspection in Other HFTD in 2021 | Miles of LiDAR Inspection in Other HFTD in 2022 | Miles of LiDAR Inspection in HFTD Tier 2 in 2021 | Miles of LiDAR Inspection in HFTD Tier 2 in 2022 | Miles of LiDAR Inspection in HFTD Tier 3 in 2021 | Miles of LiDAR Inspection in HFTD Tier 3 in 2022 | Number of Detailed Overhead Inspections in Non-HFTD in 2021 | Number of Detailed Overhead Inspections in Non-HFTD in 2022 | Number of Detailed Overhead Inspections in Other HFTD in 2021 | Number of Detailed Overhead Inspections in Other HFTD in 2022 | Number of Detailed Overhead Inspections HFTD Tier 2 in 2021 | Number of Detailed Overhead Inspections HFTD Tier 2 in 2022 | Number of Detailed Overhead Inspections HFTD Tier 3 in 2021 | Number of Detailed Overhead Inspections HFTD Tier 3 in 2022 | Number of Sectionalization Devices Installed in Non-HFTD in 2021 | Number of Sectionalization Devices Installed in Non-HFTD in 2022 | Number of Sectionalization Devices Installed in Other HFTD in 2021 | Number of Sectionalization Devices Installed in Other HFTD in 2021 | Number of Sectionalization Devices Installed HFTD Tier 2 in 2021 | Number of Sectionalization Devices Installed HFTD Tier 2 in 2022 | Number of Sectionalization Devices Installed HFTD Tier 3 in 2021 | Number of Sectionalization Devices Installed HFTD Tier 3 in 2022
Baldwin | BaldwinBreaker | NA | 9.44 | NA | NA | 9.44 | NA | 34.5 | 631.61 | 3563.73 | 12.04 | 58.4 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0.17 | 0.82 | NA | NA | NA | NA | NA | NA | 32 | 18* | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 9.44 | 9.44 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Boulder | BoulderBreaker | NA | 19.48 | NA | NA | 19.48 | NA | 4.16 | 98.89 | 165.05 | 2.17 | 2.79 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0.4 | NA | NA | NA | NA | NA | NA | 2 | 31 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 19.48 | 19.48 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Castle Glen (Division) | CastleGlen(Division)Breaker | NA | 10.61 | NA | NA | 10.61 | NA | 4.16 | 77.1 | 130.93 | 1.01 | 1.71 | 0 | 1.48 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 1.41 | NA | NA | NA | NA | NA | NA | 1 | 13 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 10.61 | 10.61 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Clubview | ClubviewBreaker | NA | 10.45 | NA | NA | 10.45 | NA | 4.16 | 102.66 | 599.59 | 1.02 | 4.71 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0.42 | NA | NA | NA | NA | NA | NA | 0 | 4 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 10.45 | 10.45 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Country Club | CountryClubBreaker | NA | 4.12 | NA | NA | 4.12 | NA | 4.16 | 0 | 72.98 | 0 | 1.17 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0.15 | NA | NA | NA | NA | NA | NA | 0 | 1 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 4.12 | 4.12 | NA | NA | NA | NA | NA | NA | 1 | 1 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Eagle | EagleBreaker | NA | 8.91 | NA | NA | 8.91 | NA | 4.16 | 0 | 480.05 | 0 | 3.77 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 8.91 | 8.91 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Erwin Lake | ErwinLakeBreaker | NA | 29.24 | NA | NA | 29.24 | NA | 4.16 | 56.99 | 293.58 | 0.77 | 4.07 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 2.23 | 3.6 | NA | NA | NA | NA | NA | NA | 107 | 8 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 29.24 | 29.24 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Fox Farm | FoxFarmBreaker | NA | 0.84 | NA | NA | 0.84 | NA | 4.16 | 0 | 87 | 0 | 1 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0.84 | 0.84 | NA | NA | NA | NA | NA | NA | 0 | 1 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Garstin | GarstinBreaker | NA | 8.91 | NA | NA | 8.91 | NA | 4.16 | 7.39 | 123 | 0.07 | 2 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 8.91 | 8.91 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Georgia | GeorgiaBreaker | NA | 9.86 | NA | NA | 9.86 | NA | 4.16 | 50.46 | 93 | 0.89 | 1 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 9.86 | 9.86 | NA | NA | NA | NA | NA | NA | 0 | 1 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Geronimo (Bear Mtn.) | Geronimo(BearMountain)Breaker | NA | 0.03 | NA | NA | 0.03 | NA | 4.16 | 0 | 872 | 0 | 2 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0.03 | 0.03 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Goldmine | GoldmineBreaker | NA | 18.46 | NA | NA | 18.46 | NA | 4.16 | 106.77 | 194.8 | 1.01 | 2.35 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 18.46 | 18.46 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Harnish (Village) | Harnish(Village)Breaker | NA | 2.55 | NA | NA | 2.55 | NA | 4.16 | 121.32 | 128 | 1.02 | 2 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 2 | 1 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 2.55 | 2.55 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Holcomb (Bear City) | Holcomb(BearCity)Breaker | NA | 14.1 | NA | NA | 14.1 | NA | 4.16 | 59.47 | 0 | 1.13 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0.1 | NA | NA | NA | NA | NA | NA | 0 | 7 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 14.1 | 14.1 | NA | NA | NA | NA | NA | NA | 0 | 1 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Interlaken | InterlackenBreaker | NA | 10 | NA | NA | 10 | NA | 4.16 | 0 | 592.9 | 0 | 9.07 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0.41 | NA | NA | NA | NA | NA | NA | 1 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 10 | 10 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Lagonita | LagonitaBreaker | NA | 8.89 | NA | NA | 8.89 | NA | 4.16 | 60.8 | 128.22 | 1.02 | 2 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 1 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 8.89 | 8.89 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Lift (Summit TOU) | ROOT | NA | 0.1 | NA | NA | 0.1 | NA | 4.16 | 123 | 71 | 1 | 1 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0.1 | 0.1 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
North Shore (Fawnskin) | NorthShore(Fawnskin)Breaker | NA | 23.92 | NA | NA | 23.92 | NA | 4.16 | 419.85 | 360.27 | 3.77 | 3.89 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 23.92 | 23.92 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Paradise | ParadiseBreaker | NA | 11.85 | NA | NA | 11.85 | NA | 4.16 | 8.48 | 59 | 0.02 | 1 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0.68 | 1.95 | NA | NA | NA | NA | NA | NA | 1 | 44 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 11.85 | 11.85 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Pioneer (Palomino) | Pioneer(Palomino)Breaker | NA | 19.34 | NA | NA | 19.34 | NA | 4.16 | 1.68 | 153.31 | 0.01 | 1.01 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 2.67 | 0 | NA | NA | NA | NA | NA | NA | 0 | 1 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 19.34 | 19.34 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Pump House (Lake) | PumpHouse(Lake)Breaker | NA | 0.66 | NA | NA | 0.66 | NA | 4.16 | 17 | 9452.5 | 0.25 | 154.5 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0.66 | 0.66 | NA | NA | NA | NA | NA | NA | 0 | 1 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Radford | RadfordBreaker | NA | 2.84 | NA | NA | NA | 2.84 | 34.5 | 170 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 2.84 | 2.84 | NA | NA | NA | NA | NA | NA | 1 | 1 | NA | NA | NA | NA | NA | NA | 0 | 0
Shay | ShayBreaker(SCE Feed) | NA | 17.56 | NA | NA | 17.56 | NA | 34.5 | 821.74 | 5.38 | 8.77 | 1.79 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 4.08 | 3.7 | NA | NA | NA | NA | NA | NA | 40 | 133** | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 17.56 | 17.56 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Skyline (Summit Res) | SummitBreaker | NA | 0 | NA | NA | 0 | NA | 4.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA |  | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Sunrise (Maple) | Sunrise(Maple)Breaker | NA | 11.65 | NA | NA | 11.65 | NA | 4.16 | 186.18 | 0 | 3.54 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 0.18 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 11.65 | 11.65 | NA | NA | NA | NA | NA | NA | 1 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
Sunset | SunsetBreaker | NA | 11.17 | NA | NA | 11.17 | NA | 4.16 | 5.27 | 40.45 | 0.04 | 1.03 | 0 | 0 | 0 | 0 | NA | NA | NA | NA | NA | NA | 2.29 | 0 | NA | NA | NA | NA | NA | NA | 4 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | NA | NA | NA | 11.17 | 11.17 | NA | NA | NA | NA | NA | NA | 1 | 0 | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA
* = (10) poles with double circuit (Baldwin circuit & Paradise circuit)
** = (30) poles with double circuit (Shay circuit & Paradise circuit)
** = (10) poles with double circuit (Shay circuit & Castle Glen circuit)