## Table 13
Utility | Bear Valley Electric Service |  | Note: Provide a listing (as rows) of all work orders / notifications for corrective work on electric circuits that were open as of the end of the quarter.
Table No. | 13
Date Modified | 2023-02-01
Table 13: Open work orders / notifications
a. Work order number | b. Equipment Type | c. HFTD Tier | d. Line type | e. Date the work order was originally opened | f. Due date of the original work order | g. GO 95 rule 18 priority level of the original work order | h. Optional utility-specific repair priority | i. Date(s) the work order was reinspected or modified (if applicable) | j. Due date of the work order after it was reinspected or modified (if applicable) | k. Priority of the work order after it was reinspected or modified (if applicable) | l. Reason for reinspection (if applicable) | Circuit | ID Number of the associated circuit | Latitude | Longitude | Description of Defect
1211634CTC_20220125080450 | crossarm | HFTD Tier 2 | Distribution | 2022-01-25 | 2027-01-25 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2431 | -116.9023 | Missing High Sign
35745CIT_20220125082535 | crossarm | HFTD Tier 2 | Distribution | 2022-01-25 | 2027-01-25 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2429 | -116.9022 | Missing High Sign
35746CIT_20220125083736 | crossarm | HFTD Tier 2 | Distribution | 2022-01-25 | 2027-01-25 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2422 | -116.9022 | Missing High Sign
6958BV_20220125085502 | crossarm | HFTD Tier 2 | Distribution | 2022-01-25 | 2027-01-25 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2389 | -116.9018 | Missing High Sign
6959BV_20220125085722 | crossarm | HFTD Tier 2 | Distribution | 2022-01-25 | 2027-01-25 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2389 | -116.9016 | Missing High Sign
6962BV_20220125090241 | crossarm | HFTD Tier 2 | Distribution | 2022-01-25 | 2027-01-25 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2381 | -116.9016 | Missing High Sign
4139BV_20220125105620 | crossarm | HFTD Tier 2 | Distribution | 2022-01-25 | 2027-01-25 | 3 | [5 empty] | Shay | N/A | 34.2407 | -116.9005 | Missing High Sign
9596BV_20220125133222 | crossarm | HFTD Tier 2 | Distribution | 2022-01-25 | 2027-01-25 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2393 | -116.8994 | Missing High Sign
10551BV_20220125140011 | crossarm | HFTD Tier 2 | Distribution | 2022-01-25 | 2027-01-25 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2398 | -116.8989 | Missing High Sign
4828BV_20220126093631 | crossarm | HFTD Tier 2 | Distribution | 2022-01-26 | 2027-01-26 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2369 | -116.9038 | Missing High Sign
5047BV_20220126094035 | crossarm | HFTD Tier 2 | Distribution | 2022-01-26 | 2027-01-26 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2369 | -116.9027 | Missing High Sign
12260BV_20220126101516 | crossarm | HFTD Tier 2 | Distribution | 2022-01-26 | 2027-01-26 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2401 | -116.9043 | Missing High Sign
12261BV_20220126101739 | crossarm | HFTD Tier 2 | Distribution | 2022-01-26 | 2027-01-26 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2406 | -116.9044 | Missing High Sign
11126BV_20220126104140 | crossarm | HFTD Tier 2 | Distribution | 2022-01-26 | 2027-01-26 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2414 | -116.9043 | Missing High Sign
6288BV_20220126130048 | crossarm | HFTD Tier 2 | Distribution | 2022-01-26 | 2027-01-26 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2391 | -116.9064 | Missing High Sign
8773BV_20220127132045 | crossarm | HFTD Tier 2 | Distribution | 2022-01-27 | 2027-01-27 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2407 | -116.9071 | Missing High Sign
P_4927_20220127132912 | crossarm | HFTD Tier 2 | Distribution | 2022-01-27 | 2027-01-27 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2419 | -116.9079 | Missing High Sign
6275BV_20220127142913 | crossarm | HFTD Tier 2 | Distribution | 2022-01-27 | 2027-01-27 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2429 | -116.9066 | Missing High Sign
10617BV_20220127143110 | crossarm | HFTD Tier 2 | Distribution | 2022-01-27 | 2027-01-27 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2429 | -116.907 | Missing High Sign
7995BV_20220201135156 | crossarm | HFTD Tier 2 | Distribution | 2022-02-01 | 2027-02-01 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2425 | -116.9134 | Missing High Sign
11175BV_20220201135514 | crossarm | HFTD Tier 2 | Distribution | 2022-02-01 | 2027-02-01 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2433 | -116.9134 | Missing High Sign
11094BV_20220201140508 | pole | HFTD Tier 2 | Distribution | 2022-02-01 | 2027-02-01 | 3 | [5 empty] | Lagonita Circuit | N/A | 34.2434 | -116.9099 | Missining Molding
5689BV_20220201141359 | crossarm | HFTD Tier 2 | Distribution | 2022-02-01 | 2027-02-01 | 3 | [5 empty] | Lagonita Circuit | N/A | 34.2424 | -116.9098 | Missing High Sign
60446CIT_20220201142105 | crossarm | HFTD Tier 2 | Distribution | 2022-02-01 | 2027-02-01 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2446 | -116.9087 | Missing High Sign
60457CIT_20220201142436 | crossarm | HFTD Tier 2 | Distribution | 2022-02-01 | 2027-02-01 | 3 | [5 empty] | Georgia Circuit | N/A | 34.2455 | -116.9087 | Missing High Sign
11765BV_20220204074251 | crossarm | HFTD Tier 2 | Distribution | 2022-02-04 | 2027-02-04 | 3 | [5 empty] | Baldwin | N/A | 34.2475 | -116.8875 | Missing High Sign
8725BV_20220204093245 | crossarm | HFTD Tier 2 | Distribution | 2022-02-04 | 2027-02-04 | 3 | [5 empty] | Pump House Circuit | N/A | 34.2527 | -116.8916 | Missing High Sign
12161BV_20220204102302 | crossarm | HFTD Tier 2 | Distribution | 2022-02-04 | 2027-02-04 | 3 | [5 empty] | Pump House Circuit | N/A | 34.2518 | -116.8924 | Missing High Sign
P_9077_20220204103746 | crossarm | HFTD Tier 2 | Distribution | 2022-02-04 | 2027-02-04 | 3 | [5 empty] | Pump House Circuit | N/A | 34.2512 | -116.8934 | Missing High Sign
6682BV_20220214093914 | crossarm | HFTD Tier 2 | Distribution | 2022-02-14 | 2027-02-14 | 3 | [5 empty] | CountryClub Circuit | N/A | 34.2624 | -116.8622 | Missing High Sign
35796CIT_20220214144540 | transformer | HFTD Tier 2 | Distribution | 2022-02-14 | 2027-02-14 | 3 | [5 empty] | CountryClub Circuit | N/A | 34.2617 | -116.8626 | Bolt cover missing on transformer
4771BV_20220414080945 | crossarm | HFTD Tier 2 | Distribution | 2022-04-14 | 2027-04-14 | 3 | [5 empty] | CountryClub Circuit | N/A | 34.2618 | -116.8568 | Missing High Sign
62919CTC_20220414085839 | pole | HFTD Tier 2 | Distribution | 2022-04-14 | 2027-04-14 | 3 | [5 empty] | Castle Glen Circuit | N/A | 34.2611 | -116.8661 | Failed sound test
4771BV_20220414080945 | crossarm | HFTD Tier 2 | Distribution | 2022-04-14 | 2027-04-14 | 3 | [5 empty] | CountryClub Circuit | N/A | 34.2618 | -116.8568 | Missing High Sign
12318BV_20220414084014 | crossarm | HFTD Tier 2 | Distribution | 2022-04-15 | 2027-04-15 | 3 | [5 empty] | Castle Glen Circuit | N/A | 34.2611 | -116.8656 | Missing High Sign
4928BV_20220602093603 | pole | HFTD Tier 2 | Distribution | 2022-06-02 | 2027-06-02 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2655 | -116.8488 | Ground Molding Missing
9353BV_20220603155809 | crossarm | HFTD Tier 2 | Distribution | 2022-06-03 | 2027-06-03 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2648 | -116.8537 | Missing High Sign
10713BV_20220603161723 | pole | HFTD Tier 2 | Distribution | 2022-06-03 | 2027-06-03 | 3 | [5 empty] | Baldwin | N/A | 34.2658 | -116.856 | Ground Molding Missing
10902BV_20220606081408 | pole | HFTD Tier 2 | Distribution | 2022-06-06 | 2023-06-06 | 2 | [5 empty] | Holcomb Circuit | N/A | 34.2676 | -116.8609 | Broken pole with Brace needs pole swap
P_6698_20220608140155 | crossarm | HFTD Tier 2 | Distribution | 2022-06-08 | 2027-06-08 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2671 | -116.8652 | Missing High Sign
6455BV_20220609073634 | connection device | HFTD Tier 2 | Distribution | 2022-06-09 | 2023-06-09 | 2 | [5 empty] | Holcomb Circuit | N/A | 34.2661 | -116.8637 | Loose primary hardware
5211BV_20220613080129 | pole | HFTD Tier 2 | Distribution | 2022-06-13 | 2023-06-13 | 2 | [5 empty] | Holcomb Circuit | N/A | 34.2674 | -116.8567 | pole butt hollow/ animal holes about 18ft.
8855BV_20220613101510 | crossarm | HFTD Tier 2 | Distribution | 2022-06-13 | 2027-06-13 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2679 | -116.8549 | Missing High sign
8853BV_20220613101053 | crossarm | HFTD Tier 2 | Distribution | 2022-06-13 | 2027-06-13 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2689 | -116.8546 | Missing High sign
8852BV_20220613100950 | crossarm | HFTD Tier 2 | Distribution | 2022-06-13 | 2027-06-13 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2694 | -116.8544 | Missing High sign
8847BV_20220613100736 | crossarm | HFTD Tier 2 | Distribution | 2022-06-13 | 2027-06-13 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2704 | -116.8544 | Missing High sign
8848BV_20220613100608 | crossarm | HFTD Tier 2 | Distribution | 2022-06-13 | 2027-06-13 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2709 | -116.8544 | Missing High sign
8474BV_20220613103730 | crossarm | HFTD Tier 2 | Distribution | 2022-06-13 | 2027-06-13 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2705 | -116.8531 | Missing High sign
6339BV_20220613150055 | crossarm | HFTD Tier 2 | Distribution | 2022-06-13 | 2027-06-13 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2705 | -116.8488 | Missing High sign
31697CIT_20220614071315 | crossarm | HFTD Tier 2 | Distribution | 2022-06-14 | 2027-06-14 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2705 | -116.8467 | Missing High sign
8796BV_20220614130410 | crossarm | HFTD Tier 2 | Distribution | 2022-06-14 | 2027-06-14 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2675 | -116.845 | Missing High sign
8028BV_20220614133603 | crossarm | HFTD Tier 2 | Distribution | 2022-06-14 | 2027-06-14 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2684 | -116.8423 | Missing High sign/Bent pole steps
4991BV_20220614153352 | crossarm | HFTD Tier 2 | Distribution | 2022-06-15 | 2027-06-15 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2684 | -116.8451 | Missing high sign
8892BV_20220616065032 | pole | HFTD Tier 2 | Distribution | 2022-06-16 | 2027-06-16 | 3 | [5 empty] | Holcomb Circuit | N/A | 34.2648 | -116.8618 | Missing wood molding
5181BV_20220721102458 | pole | HFTD Tier 2 | Distribution | 2022-07-21 | 2023-07-21 | 2 | [5 empty] | Harnish Circuit | N/A | 34.2378 | -116.9108 | Split pole top
4892BV_20220727094400 | pole | HFTD Tier 2 | Distribution | 2022-07-27 | 2023-07-27 | 2 | [5 empty] | North Shore Circuit | N/A | 34.2677 | -116.9381 | Deteriorated pole butt
10216BV_20220728104533 | pole | HFTD Tier 2 | Distribution | 2022-07-28 | 2023-07-28 | 2 | [5 empty] | North Shore Circuit | N/A | 34.2725 | -116.9402 | Cracked pole top
5056BV_20220728095817 | crossarm | HFTD Tier 2 | Distribution | 2022-07-28 | 2023-07-28 | 2 | [5 empty] | North Shore Circuit | N/A | 34.2698 | -116.9349 | Secondary arm split
8180BV_20220804083125 | pole | HFTD Tier 2 | Distribution | 2022-08-04 | 2027-08-04 | 3 | [5 empty] | Harnish Circuit | N/A | 34.2338 | -116.9131 | Pole Top split
4259BV_20230118152656 | pole | HFTD Tier 3 | Distribution | 10/1//2022 | 10/1//2027 | 3 | [5 empty] | Radford Circuit | N/A | 34.2187 | -116.9076 | Insect damage
7864BV_20221010065719 | pole | HFTD Tier 2 | Distribution | 2022-10-10 | 2023-10-10 | 2 | [5 empty] | Interlacken Circuit | N/A | 34.2468 | -116.8782 | Hollow Pole Butt
Pre 2022 Open Work Orders
6641BV | pole | HFTD Tier 2 | Distribution | 2021-07-08 | 2026-06-02 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2483 | -116.823 | Bent pole step
6944BV | pole | HFTD Tier 2 | Distribution | 2021-07-09 | 2026-06-03 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2378 | -116.8228 | Bent pole step
7930BV | pole | HFTD Tier 2 | Distribution | 2021-07-09 | 2026-06-03 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2364 | -116.8228 | GR molding, Bent pole step
7734BV | pole | HFTD Tier 2 | Distribution | 2021-07-14 | 2026-06-08 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2377 | -116.8236 | Bent pole step
6691BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-14 | 2026-06-08 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2387 | -116.8244 | Missing High Sign
8820BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-14 | 2026-06-08 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2504 | -116.8327 | Missing High Sign
8023BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-14 | 2026-06-08 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.238 | -116.8244 | Missing High Sign
8484BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2372 | -116.8244 | Missing High Sign
6954BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2422 | -116.8236 | Missing High Sign
6953BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2426 | -116.8236 | Missing High Sign
6952BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.243 | -116.8236 | Missing High Sign
11083BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2452 | -116.8253 | Missing High Sign
9769BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2441 | -116.8252 | Missing High Sign
34546CIT | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2415 | -116.8252 | Missing High Sign
34547CIT | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2409 | -116.8252 | Missing High Sign
34548CIT | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2406 | -116.8251 | Missing High Sign
CTC37497 | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2275 | -116.8644 | Missing High Sign
4191BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2431 | -116.8237 | Missing High Sign
6065BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2484 | -116.8237 | Missing High Sign
CTC63157 | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2497 | -116.8237 | Missing High Sign
6520BV | pole | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2494 | -116.8237 | Bent pole step
5822BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2501 | -116.8245 | Missing High Sign
11775BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2377 | -116.9508 | Missing High Sign
4076BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2471 | -116.8268 | Missing High Sign
5306BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2454 | -116.8275 | Missing High Sign
5161BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2427 | -116.8267 | Missing High Sign
CIT60190 | crossarm | HFTD Tier 2 | Distribution | 2021-07-21 | 2026-06-15 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2399 | -116.8268 | Missing High Sign
6660BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2369 | -116.8252 | Missing High Sign
6843BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.237 | -116.8259 | Missing High Sign
6915BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2378 | -116.826 | Missing High Sign
CTC63017 | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2388 | -116.826 | Missing High Sign
6348BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.24 | -116.826 | Missing High Sign
6317BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2407 | -116.826 | Missing High Sign
11719BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2426 | -116.826 | Missing High Sign
5920BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2454 | -116.826 | Missing High Sign
5379BV | pole | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2383 | -116.8289 | Ground molding
6844BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.237 | -116.8266 | Missing High Sign
9802BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2649 | -116.7785 | Missing High Sign
4730BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2453 | -116.8283 | Missing High Sign
37473CIT | pole | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.239 | -116.8298 | Ground molding
6653BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.241 | -116.8282 | Missing High Sign
5771BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2406 | -116.8282 | Missing High Sign
6068BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2395 | -116.8282 | Missing High Sign
6904BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2392 | -116.8282 | Missing High Sign
6905BV | crossarm | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2387 | -116.8282 | Missing High Sign
8808BV | pole | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.258 | -116.8434 | Animal bored hole in poletop.
8207BV | pole | HFTD Tier 2 | Distribution | 2021-07-27 | 2026-06-21 | 3 | [5 empty] | Sunrise 4kV | N/A | 34.2359 | -116.8282 | Idle hardware. Flatbrace
ctc1210003 | crossarm | HFTD Tier 2 | Distribution | 2021-09-21 | 2026-08-16 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2423 | -116.8299 | Missing High Sign
11792BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-21 | 2026-08-16 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2366 | -116.8305 | Missing High Sign
23902BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-21 | 2026-08-16 | 3 | [5 empty] | Sunset 4kv | N/A | 34.237 | -116.8305 | Missing High Sign
8878BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-21 | 2026-08-16 | 3 | [5 empty] | Sunset 4kv | N/A | 34.239 | -116.8305 | Missing High Sign
23899CIT | crossarm | HFTD Tier 2 | Distribution | 2021-09-21 | 2026-08-16 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2397 | -116.8306 | Missing High Sign
9535BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-21 | 2026-08-16 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2403 | -116.8306 | Missing High Sign
4951BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-21 | 2026-08-16 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2407 | -116.8306 | Missing High Sign
9536BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-21 | 2026-08-16 | 3 | [5 empty] | Sunset 4kv | N/A | 34.241 | -116.8306 | Missing High Sign
9588BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-21 | 2026-08-16 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2617 | -116.8638 | Missing High Sign
8150BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-21 | 2026-08-16 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2425 | -116.8313 | Missing High Sign
8887BV | pole | HFTD Tier 2 | Distribution | 2021-09-21 | 2026-08-16 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2364 | -116.8312 | Ground molding
8488BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.238 | -116.8317 | Missing High Sign
6359BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2374 | -116.8324 | Missing High Sign
CIT1210391 | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2406 | -116.8334 | Missing High Sign
6760BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2389 | -116.8342 | Missing High Sign
5869BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.237 | -116.834 | Missing High Sign
5869BV | pole | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.237 | -116.834 | Ground molding
8128BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2393 | -116.8349 | Missing High Sign
23944CIT | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2406 | -116.835 | Missing High Sign
7513BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2527 | -116.8658 | Missing High Sign
63112CTC | pole | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2409 | -116.8357 | Ground molding
7142BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2417 | -116.8366 | Missing High Sign
5124BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2421 | -116.8366 | Missing High Sign
37158CIT | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2425 | -116.8366 | Missing High Sign
37159CIT | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2428 | -116.8366 | Missing High Sign
6502BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2447 | -116.8388 | Missing High Sign
8059BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2465 | -116.836 | Missing High Sign
7611BV | pole | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2478 | -116.8353 | Bent pole step
7349BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2483 | -116.8345 | Missing High Sign
23921CIT | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2442 | -116.8345 | Missing High Sign
7404BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2461 | -116.8345 | Missing High Sign
7346BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2486 | -116.8338 | Missing High Sign
6809BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2482 | -116.833 | Missing High Sign
6711BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2478 | -116.833 | Missing High Sign
6807BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2474 | -116.833 | Missing High Sign
6706BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.247 | -116.833 | Missing High Sign
4705BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2466 | -116.833 | Missing High Sign
6533BV | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2445 | -116.8329 | Missing High Sign
1210026CIT | crossarm | HFTD Tier 2 | Distribution | 2021-09-22 | 2026-08-17 | 3 | [5 empty] | Sunset 4kv | N/A | 34.2442 | -116.8329 | Missing High Sign